## Thursday
Thursday August 10th 2017
Rectangle of 6 receivers + 1 receiver in the downstream area
Test tag locations + test tag tracks
Timing_IN_hh:mm | Timing _OUT_hh:mm | Tag_position_track_code | Receiver_INBOcode | Tag_ID | Serial_number | Longitude | Latitude | Location_description | google_earth_file | Link_to_google_earth_file | Internal_tag_status | Logging_settings | Remarks
12:49 | 17:24 |  | A | H170-1802-61076 | 461076 | 10.225 | 47.819 | Centre of the rectangle, right bank | Test_set_up_10aug2017_receivers_and_fixed_tag,KML | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Vemco | on_HR tag 4 to 6s_PPM tag 25 to 35s | on
12:49 | 0.725 |  | B | H170-1802-61141 | 461141 | 10.2254 | 47.8188 | Upper part, right bank | Test_set_up_10aug2017_receivers_and_fixed_tag,KML | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Vemco | on_HR tag 4 to 6s_PPM tag 25 to 35s | on | This receiver had very sparse detections, probably due to the receiver itself (being investegated by VEMCO). The results of this receiver have not been included in the result-files (calculated positions) from VEMCO
12:49 | 17:24 |  | C | H170-1802-61059 | 461059 | 10.2251 | 47.8186 | Upper part, left bank | Test_set_up_10aug2017_receivers_and_fixed_tag,KML | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Vemco | on_HR tag 4 to 6s_PPM tag 25 to 35s | on
12:49 | 17:24 |  | D | H170-1802-61140 | 461140 | 10.2248 | 47.8188 | Centre, left bank | Test_set_up_10aug2017_receivers_and_fixed_tag,KML | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Vemco | on_HR tag 4 to 6s_PPM tag 25 to 35s | on
12:49 | 17:24 |  | E | H170-1802-61143 | 461143 | 10.2243 | 47.8189 | Lower, left bank | Test_set_up_10aug2017_receivers_and_fixed_tag,KML | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Vemco | on_HR tag 4 to 6s_PPM tag 25 to 35s | on
12:49 | 17:24 |  | F | H170-1802-61135 | 461135 | 10.2246 | 47.8191 | Lower, right bank | Test_set_up_10aug2017_receivers_and_fixed_tag,KML | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Vemco | on_HR tag 4 to 6s_PPM tag 25 to 35s | on
14:46 | 17:24 |  | G | H170-1802-61075 | 461075 | 10.224 | 47.8191 | Lowest, middle of the river | Test_set_up_10aug2017_receivers_and_fixed_tag,KML | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Vemco | on_HR tag 4 to 6s_PPM tag 25 to 35s | on
12:49 | 13:24 | T13 |  | H170-1802-61995 |  | 10.2248 | 47.8186 | In outlet of the fish ladder, outside rectangle | Test_set_up_10aug2017_receivers_and_fixed_tag,KML
14:10 | 14:35 | T14 |  | H170-1802-61995 |  | 10.2254 | 47.8187 | Upstream of rectangle, outside rectangle | Test_set_up_10aug2017_receivers_and_fixed_tag,KML
14:37 | 14:59 | T15 |  | H170-1802-61995 |  | 10.2251 | 47.8188 | Upper part of rectangle, centre of A, B, C, D, in rectangle | Test_set_up_10aug2017_receivers_and_fixed_tag,KML
15:09 | 16:16 | T16 |  | H170-1802-61995 |  | 10.2244 | 47.8191 | Downstream of rectangle,outside rectangle, but upstream of receiver G | Test_set_up_10aug2017_receivers_and_fixed_tag,KML
17:24 | 17:30 | T17 |  | H170-1802-61995 |  | 10.2243 | 47.8189 | Next to receiver E | Test_set_up_10aug2017_receivers_and_fixed_tag,KML
13:26 | 13:29 | TR1 |  | H170-1802-61995 |  |  |  | Track by boat from up to downstream of the rectangle; not recorded with GPS! | Spoor_TR1.GPX | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Garmin
14:03 | 14:09 | TR2 |  | H170-1802-61995 |  |  |  | Track by boat from up to downstream of the rectangle; not recorded with GPS! | Spoor_TR2.GPX | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Garmin
15:01 | 15:06 | TR3 |  | H170-1802-61995 |  |  |  | Track by boat from up to downstream of the rectangle; not recorded with GPS! | Spoor_TR3.GPX | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Garmin
16:18 | 16:22 | TR4 |  | H170-1802-61995 |  |  |  | Track by boat from up to downstream of the rectangle | GPS_precise_tag_track_TR4.GPX | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Garmin
16:33 | 16:37 | TR5 |  | H170-1802-61995 |  |  |  | Track by boat from up to downstream of the rectangle | GPS_precise_tag_track_TR5.GPX | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Garmin
16:41 | 16:46 | TR6 |  | H170-1802-61995 |  |  |  | Track by boat from up to downstream of the rectangle | GPS_precise_tag_track_TR6.GPX | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Garmin
16:50 | 16:55 | TR7 |  | H170-1802-61995 |  |  |  | Track by boat from up to downstream of the rectangle | GPS_precise_tag_track_TR7.GPX | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Garmin
17:03 | 17:03 | TR8 |  | H170-1802-61995 |  |  |  | Track by boat from up to downstream of the rectangle; fast track to centre of rectangle | GPS_precise_tag_track_TR8.GPX | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Garmin
17:09 | 17:14 | TR9 |  | H170-1802-61995 |  |  |  | Track by boat from up to downstream of the rectangle | GPS_precise_tag_track_TR9.GPX | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Garmin
17:18 | 17:24 | TR10 |  | H170-1802-61995 |  |  |  | Track by boat from up to downstream of the rectangle | GPS_precise_tag_track_TR10.GPX | G:\Mijn Drive\busy_busy_busy\Projecten\FITHydro - H2020\WP2_case studies\Ruwe_data\Garmin

## Receiver_info
Receiver | Serial number | Test tag | Tag_ID
A | 461076
B | 461141
C | 461059
D | 461140
E | 461143
F | 461135
G | 461075

## Tuesday
Tuesday August 8th 2017
Square 1, update 1
Start of the test | 14.45h
Receiver_letter_code_INBO | Receiver_serial_number | Longitude | Latitude | Location_description | google_earth_file | Link_to_google_earth_file | Internal_tag_status | Logging_settings | Distances between receiver …:
A | [6 empty] | On_HR4-6s_PPM25-35s_Power_very_high | 1 min | C-D : 16 m
B | [6 empty] | On_HR4-6s_PPM25-35s_Power_very_high |  | D – reference : 19 m
C | [6 empty] | On_HR4-6s_PPM25-35s_Power_very_high |  | C – reference: ?
D | [6 empty] | On_HR4-6s_PPM25-35s_Power_very_high |  | B – C : 14 m
E | [8 empty] | B – D : 20 m
F | Receiver A = 461076; location in the square: downstream right bank | [7 empty] | B – reference: 27 m
G |  | Coordinate : N 47.81893 – E 10.22480 | [6 empty] | A – D: 11 m
| Receiver B = 461141; location in the square: upstream right bank |  |  |  |  | Test tag location 1 = T1 (next to receiver A) |  |  | A – B: 15 m
|  | Coordinate: N 47.81883 – 10.22497 |  |  |  |  | Coordinate: N 47.818932 – E 10.224793 |  | A – C: 20 m
| Receiver C = 461059; location in the square: upstream left bank |  |  |  |  | Test tag location 2 = T2 (1.5 m downstream of receiver G) |  |  | A – reference: 25 m
|  | Coordinate: N 47.81873 – 10.22487 |  |  |  |  | Coordinate: N 47.818836 - E 10.224791
Receiver D = 461140; location in the square: downstream left bank
Coordinate: N 47.81884 – E 10.22465
Square 1, update 2 (receiver added in the centre of the square)
Receiver_letter_code_INBO | Receiver_serial_number | Longitude | Latitude | Location_description | google_earth_file | Link_to_google_earth_file | Internal_tag_status | Logging_settings
Receiver A = 461076; location in the square: downstream right bank
Coordinate : N 47.81893 – E 10.22480
Receiver B = 461141; location in the square: upstream right bank
Coordinate: N 47.81883 – 10.22497
Receiver C = 461059; location in the square: upstream left bank
Coordinate: N 47.81873 – 10.22487
Receiver D = 461140; location in the square: downstream left bank
Coordinate: N 47.81884 – E 10.22465
Receiver G = 461075; in the centre of the square
Coordinate: N 47.81883 – E 10.22481
At 17.09h we inserted the test tag at 1.5m downstream of receiver G, in the middle of the square. This is location T2 in the google earth file.
Coordinates: N 47.818836 – E 10.224791
Test two extra receivers downstream of the square
Receiver_letter_code_INBO | Receiver_serial_number | Longitude | Latitude | Location_description | google_earth_file | Link_to_google_earth_file | Internal_tag_status | Logging_settings
Receiver E was under water till Thursday - no coordinate recorded, but receiver was located next to the still backwater, downstream of the outlet of the fish ladder
Receiver F = 461135 ; location most downstream receiver, near the right bank
Coordinate: N 47.81902 – E 10.22459
Timing:
These receivers were installed during the tests of Tuesday, the whole day. The internal tags were turned off.
From 18h onwards the overnight tests started, so the test tag was replaced to the outlet of the fish ladder. We ended the overnight test on around 10.30 - 11h.

## Overnight_Tue_to_Wed
Test from Tuesday till Wednesday
Receivers at the same position (square) as Tuesday and located there for the whole night.
Receiver_letter_code_INBO | Receiver_serial_number | Longitude | Latitude | Location_description | google_earth_file | Link_to_google_earth_file | Internal_tag_status | Logging_settings
Receiver A = 461076; location in the square: downstream right bank
Coordinate : N 47.81893 – E 10.22480
Receiver B = 461141; location in the square: upstream right bank
Coordinate: N 47.81883 – 10.22497
Receiver C = 461059; location in the square: upstream left bank
Coordinate: N 47.81873 – 10.22487
Receiver D = 461140; location in the square: downstream left bank
Coordinate: N 47.81884 – E 10.22465
Test tag in position T_night; which is the outlet of the fish ladder, outside of the square.
Coordinates: N 47.81869- E 10.22481
Timing of T_night = from 18h till around 10.30h

## Wednesday
Wednesday August 9th 2017
Today, during all tests receiver E was still under water and recording; The internal tag being turned off.
Big square + 1 receiver upstream (F) + 1 receiver downstream € + 1 receiver in still area (G- tag on)
Receiver_letter_code_INBO | Receiver_serial_number | Longitude | Latitude | Location_description | google_earth_file | Link_to_google_earth_file | Internal_tag_status | Logging_settings
Receiver A = 461076 ; location downstream and near the right bank
Coordinate: N 47.4781901 – E 10.22487
Receiver B = 461141; location upstream in the square near the right bank
Coordinate: N 47.81879 – E 10.22556
Receiver C = 461059; location upstream near the left bank
Coordinate: N 4781846 – E 10.22540
Receiver D = 461140; location downstream near the left bank
Coordinate: N 47.81878 – E 10.22467
Receiver F (internal tag off) = 461135; location upstream of the big square
Coordinate: N 47,81866 – E 10.22612
Receiver G (internal tag on) = 461075; location downstream of the big square
Coordinate: N 47,81874 – E 10.22440
Test tag positions and timing:
T3
Coordinates: N 47.81879 – E 10.22552
Timing: start to check from 12.37h
T4
Coordinates: N 47.81849 – E 10.22544
Timing: tag in 13.19h
T5
Coordinates: N 47.81876 – E 10.22514
Timing 13.50h till 14.05h
T6
Coordinates: N 47.81906 – E 10.22482
Timing: 14.10h till 14.26h
T7
Coordinates: N 47.81881 –E 10.22474
Timing: 14.31h till 14.49h
T8
Coordinates: N 47.81850 – E 10.22582
Timing: 14.53h till 15.10h
T9
Coordinates: N 47.81903 – E 10.22461
Timing: 15.19h till 15.36h
T10
Coordinates: N 47.81887 – E 10.22459
Timing: 15.40h tag in
T11
Coordinates: N 47.81832 – E 10.22576
Timing: 15.59h till 16.23h
T12
Coordinates: N 47.81860 – E 10.22602
Timing: 16.27h till 16.47h